Request for Variance from

Manual of Guidelines and Standards for Design and Construction Form

Date: July 29, 2025

Project Name & Project Number:

Campus Medium Voltage Electrical System Voltage Adjustment / A250033

# CU Project Manager: Andy Madsen

# Requestor: Andy Madsen

Section of Standard: 26 21 00 Medium Voltage Transformers

Description and Reason for Request:

Revise the CU Anschutz Campus Standard Section 26 21 00 Medium Voltage Transformers for the following reasons:

- Update the standard to meet current Industry standards and requirements.

- Update the standards to meet the new Excel Energy voltage, incoming voltage 13.2 KV.

- Allow exterior pad-mounted transformers to have copper or aluminum windings.

- Update the Medium Voltage Transformer approved manufacturers list.

- Provide more details for the Medium Voltage Transformer that is to be purchased.

- Include an indoor Transformers section in the standard.

- Include single-phase Transformers

- Includes testing requirements for manufacturers.

Please see the attached documentation for the change and justification regarding the use of aluminum wound transformers.

Make Permanent change to standard: 	Yes

Date Variance Needed: September 22, 2025

Standards Committee Reviewers:

Jay Campbell	Approve    X	Disapprove	Reason

Gregory Gibson	Approve	Disapprove	Reason

Andre Vite	Approve     X 	Disapprove	Reason

(Anschutz Only)

Meg Hohnholt	Approve    X 	Disapprove	Reason

(Denver Only)

Joe Kimitch	Approve   X 	Disapprove	Reason

Jim Nelson 	Approve	Disapprove	Reason

Andy Madsen 	Approve   X	Disapprove	Reason

Tony Miller	Approve    X	Disapprove	Reason

Greg Sullivan (CU Security)	Approve   X	Disapprove	Reason

Sheard Goodwin (IT)	Approve   X 	Disapprove	Reason

Decision Date: September 24, 2025

Standards Committee Decision:

All the changes to 26 10 00 Medium Voltage Transformers have been accepted and approved.